## Small Diameter
BEECO Small Diameter Lead Free Backflow Cross Reference
ASSE | CSA | Model | Size | Shut Off valve | BEECO |  | Wilkins |  | WATTS |  | Apollo | Apollo w/strainer | Air Gap Drain | Check Module Rubber Kit | FDC Replacement Check | FRP First Check | FRP Second Check | RP Relief Valve Rubber Kit
[5 empty] | FDC | WITH STRAINER | 350XL | 950XLT2 | 719 | 007 | 4ALF | 4ALF
1015 | B64.5 | DC | 1/2" | Ball Valve | FDC.50-QT-LL | FDC.50-QT-LL-S | N/A | N/A | 1/2" 719 | 1/2" LF007QT | 4ALF103A2F | 4ALF113A2F | N/A | FDC.75-RUBBER-KIT | FDC.75-CHECK | N/A | N/A | N/A
1015 | B64.5 | DC | 3/4" | Ball Valve | FDC.75-QT-LL | FDC.75-QT-LL-S | 34-350XL | 34-950XLT2 | 3/4" 719 | 3/4" LF007M3QT | 4ALF104A2F | 4ALF114A2F |  | FDC.75-RUBBER-KIT | FDC.75-CHECK
1015 | B64.5 | DC | 1" | Ball Valve | FDC1.00-QT-LL | FDC1.00-QT-LL-S | 1-350XL | 1-950XLT2 | 1" 719 | 1" LF007M1QT | 4ALF105A2F | 4ALF115A2F |  | FDC1.00-RUBBER-KIT | FDC1.00-CHECK
1015 | B64.5 | DC | 1-1/4" | Ball Valve | FDC1.25-QT-LL | FDC1.25-QT-LL-S | 114-350XL | 114-950XLT2 | 1-1/4" 719 | 1-1/4" LF007M2QT | 4ALF106A2F | 4ALF116A2F |  | FDC1.50-RUBBER-KIT | FDC1.50-CHECK
1015 | B64.5 | DC | 1-1/2" | Ball Valve | FDC1.50-QT-LL | FDC1.50-QT-LL-S | 112-350XL | 112-950XLT2 | 1-1/2" 719 | 1-1/2" LF007M2QT | 4ALF107A2F | 4ALF117A2F |  | FDC1.50-RUBBER-KIT | FDC1.50-CHECK
1015 | B64.5 | DC | 2" | Ball Valve | FDC2.00-QT-LL | FDC2.00-QT-LL-S | 2-350XL | 2-950XLT2 | 2" 719 | 2" LF007M1QT | 4ALF108A2F | 4ALF118A2F |  | FDC2.00-RUBBER-KIT | FDC2.00-CHECK
[5 empty] | FRP | WITH STRAINER | 375XL | 975XL2 | 909 OR 919 | 009 | 4A | 4A |  | Repair Kits
|  | RP | 1/2" | Ball Valve | [6 empty] | 4A203A2F | 4A213A2F | AGD4A1 | 4A00301 | 4A00302 | 4A00303 | 4A00302 | 4A00504
|  | RP | 3/4" | Ball Valve | [6 empty] | 4A204A2F | 4A214A2F | AGD4A1 | 4A00401 | 4A00402 | 4A00403 | 4A00402 | 4A00504
|  | RP | 1" | Ball Valve | [6 empty] | 4A205A2F | 4A215A2F | AGD4A1 | 4A00501 | 4A00502 | 4A00503 | 4A00502 | 4A00504
|  | RP | 1-1/4" | Ball Valve | [6 empty] | 4A206A2F | 4A216A2F | AGD4A112 | 4A00701 | 4A00702 | 4A00703 | 4A00702 | 4A00704
|  | RP | 1-1/2" | Ball Valve | [6 empty] | 4A207A2F | 4A217A2F | AGD4A112 | 4A00701 | 4A00702 | 4A00703 | 4A00702 | 4A00704
|  | RP | 2" | Ball Valve | [6 empty] | 4A208A2F | 4A218A2F | AGD4A2 | 4A00801 | 4A00802 | 4A00803 | 4A00802 | 4A00804
[7 empty] | 375 | 975
1013 | B64.4 | RP | 1/2" | Ball Valve | FRP.50-QT-LL | FRP.50-QT-LL-S | 12-375XL | 12-975XL2 | 1/2" LF909QT | 1/2" 009QT | 4ALF203A2F | 4ALF213A2F | AG1.00 | FDC.75-RUBBER-KIT | N/A | FRP.75-CHECK-1ST | FRP.75-CHECK-2ND | FRP1.00-RV-KIT
1013 | B64.4 | RP | 3/4" | Ball Valve | FRP.75-QT-LL | FRP.75-QT-LL-S | 34-375XL | 34-975XL2 | 3/4" LF909QT | 3/4" 009M2QT | 4ALF204A2F | 4ALF214A2F | AG1.00 | FDC.75-RUBBER-KIT |  | FRP.75-CHECK-1ST | FRP.75-CHECK-2ND | FRP1.00-RV-KIT
1013 | B64.4 | RP | 1" | Ball Valve | FRP1.00-QT-LL | FRP1.00-QT-LL-S | 1-375XL | 1-975XL2 | 1" LF909QT | 1" 009M2QT | 4ALF205A2F | 4ALF215A2F | AG1.00 | FDC1.00-RUBBER-KIT |  | FRP1.00-CHECK-1ST | FRP1.00-CHECK-2ND | FRP1.00-RV-KIT
1013 | B64.4 | RP | 1-1/4" | Ball Valve | FRP1.25-QT-LL | FRP1.25-QT-LL-S | 114-375XL | 114-975XL2 | 1-1/4" LF909QT | 1-1/4" 009M2QT | 4ALF206A2F | 4ALF216A2F | AG2.00 | FDC2.00-RUBBER-KIT |  | FRP2.00-CHECK-1ST | FRP2.00-CHECK-2ND | FRP2.00-RV-KIT
1013 | B64.4 | RP | 1-1/2" | Ball Valve | FRP1.50-QT-LL | FRP1.50-QT-LL-S | 112-375XL | 112-975XL2 | 1-1/2" LF909QT | 1-1/2" 009M2QT | 4ALF207A2F | 4ALF217A2F | AG2.00 | FDC2.00-RUBBER-KIT |  | FRP2.00-CHECK-1ST | FRP2.00-CHECK-2ND | FRP2.00-RV-KIT
1013 | B64.4 | RP | 2" | Ball Valve | FRP2.00-QT-LL | FRP2.00-QT-LL-S | 2-375XL | 2-975XL2 | 2" LF909QT | 2" 009M2QT | 4ALF208A2F | 4ALF218A2F | AG2.00 | FDC2.00-RUBBER-KIT |  | FRP2.00-CHECK-1ST | FRP2.00-CHECK-2ND | FRP2.00-RV-KIT
[7 empty] | 350ASTDA |  |  | 007M1DCDA | 4AST |  |  | Repair Kits
1048 |  | DCDA2 | 1-1/2" | Mon. Ball Valve | [6 empty] | 4ALF627C2ST | CFM Meter | N/A | 4A00701 | 4A00702 | N/A | N/A | N/A
1048 |  | DCDA2 | 1-1/2" | Mon. Ball Valve | [6 empty] | 4ALF627EST | GPM Meter | N/A | 4A00701 | 4A00702 | N/A | N/A | N/A
1048 |  | DCDA2 | 1-1/2" | Mon. Ball Valve | [6 empty] | 4ALF627GST | No meter | N/A | 4A00701 | 4A00702 | N/A | N/A | N/A
1048 |  | DCDA2 | 1-1/2" | Mon. Ball Valve | [6 empty] | 4ALF647C2ST | CFM Meter | N/A | 4A00701 | 4A00702 | N/A | N/A | N/A
1048 |  | DCDA2 | 1-1/2" | Mon. Ball Valve | [6 empty] | 4ALF647EST | GPM Meter | N/A | 4A00701 | 4A00702 | N/A | N/A | N/A
1048 |  | DCDA2 | 1-1/2" | Mon. Ball Valve | [6 empty] | 4ALF647GST | No meter | N/A | 4A00701 | 4A00702 | N/A | N/A | N/A
1048 |  | DCDA2 | 2" | Mon. Ball Valve | [6 empty] | 4ALF628C2ST | CFM Meter | N/A | 4A00801 | 4A00802 | N/A | N/A | N/A
1048 |  | DCDA2 | 2" | Mon. Ball Valve | [6 empty] | 4ALF628EST | GPM Meter | N/A | 4A00801 | 4A00802 | N/A | N/A | N/A
1048 |  | DCDA2 | 2" | Mon. Ball Valve | [6 empty] | 4ALF628GST | No meter | N/A | 4A00801 | 4A00802 | N/A | N/A | N/A
1048 |  | DCDA2 | 2" | Mon. Ball Valve | [6 empty] | 4ALF648C2ST | CFM Meter | N/A | 4A00801 | 4A00802 | N/A | N/A | N/A
1048 |  | DCDA2 | 2" | Mon. Ball Valve | [6 empty] | 4ALF648EST | GPM Meter | N/A | 4A00801 | 4A00802 | N/A | N/A | N/A
1048 |  | DCDA2 | 2" | Mon. Ball Valve | [6 empty] | 4ALF648GST | No meter | N/A | 4A00801 | 4A00802 | N/A | N/A | N/A
1047 |  | RPDA2 | 1-1/2" | Mon. Ball Valve | [6 empty] | 4ALF627C2ST | CFM Meter | AGD4A112 | 4A00701 | 4A00702 | 4A00703 | 4A00702 | 4A00704
1047 |  | RPDA2 | 1-1/2" | Mon. Ball Valve | [6 empty] | 4ALF627EST | GPM Meter | AGD4A112 | 4A00701 | 4A00702 | 4A00703 | 4A00702 | 4A00704
1047 |  | RPDA2 | 1-1/2" | Mon. Ball Valve | [6 empty] | 4ALF627GST | No meter | AGD4A112 | 4A00701 | 4A00702 | 4A00703 | 4A00702 | 4A00704
1047 |  | RPDA2 | 1-1/2" | Mon. Ball Valve | [6 empty] | 4ALF647C2ST | CFM Meter | AGD4A112 | 4A00701 | 4A00702 | 4A00703 | 4A00702 | 4A00704
1047 |  | RPDA2 | 1-1/2" | Mon. Ball Valve | [6 empty] | 4ALF647EST | GPM Meter | AGD4A112 | 4A00701 | 4A00702 | 4A00703 | 4A00702 | 4A00704
1047 |  | RPDA2 | 1-1/2" | Mon. Ball Valve | [6 empty] | 4ALF647GST | No meter | AGD4A112 | 4A00701 | 4A00702 | 4A00703 | 4A00702 | 4A00704
1047 |  | RPDA2 | 2" | Mon. Ball Valve | [6 empty] | 4ALF628C2ST | CFM Meter | AGD4A2 | 4A00802 | 4A00808 | 4A00802 | 4A00804 | 4A00704
1047 |  | RPDA2 | 2" | Mon. Ball Valve | [6 empty] | 4ALF628EST | GPM Meter | AGD4A2 | 4A00802 | 4A00808 | 4A00802 | 4A00804 | 4A00704
1047 |  | RPDA2 | 2" | Mon. Ball Valve | [6 empty] | 4ALF628GST | No meter | AGD4A2 | 4A00802 | 4A00808 | 4A00802 | 4A00804 | 4A00704
1047 |  | RPDA2 | 2" | Mon. Ball Valve | [6 empty] | 4ALF648C2ST | CFM Meter | AGD4A2 | 4A00802 | 4A00808 | 4A00802 | 4A00804 | 4A00704
1047 |  | RPDA2 | 2" | Mon. Ball Valve | [6 empty] | 4ALF648EST | GPM Meter | AGD4A2 | 4A00802 | 4A00808 | 4A00802 | 4A00804 | 4A00704
1047 |  | RPDA2 | 2" | Mon. Ball Valve | [6 empty] | 4ALF648GST | No meter | AGD4A2 | 4A00802 | 4A00808 | 4A00802 | 4A00804 | 4A00704
[5 empty] | FDC | WITH STRAINER | 950XL |  |  |  | DC4AY | DC4AY |  | Apollo | Apollo
1015 | B64.5 | DC | 1/2" | Ball Valve | FDC.50-QT-LL | FDC.50-QT-LL-S | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
1015 | B64.5 | DC | 3/4" | Ball Valve | FDC.75-QT-LL | FDC.75-QT-LL-S | 3/4" 950XL |  |  |  | 4AYLF104A2F | 4AYLF114A2F |  | 4A00401 | 4A00402
1015 | B64.5 | DC | 1" | Ball Valve | FDC1.00-QT-LL | FDC1.00-QT-LL-S | 1" 950XL |  |  |  | 4AYLF105A2F | 4AYLF115A2F |  | 4A00501 | 4A00502
1015 | B64.5 | DC | 1-1/4" | Ball Valve | FDC1.25-QT-LL | FDC1.25-QT-LL-S | N/A |  |  |  | N/A | N/A |  | N/A | N/A
1015 | B64.5 | DC | 1-1/2" | Ball Valve | FDC1.50-QT-LL | FDC1.50-QT-LL-S | 112-950XL |  |  |  | N/A | N/A |  | N/A | N/A
1015 | B64.5 | DC | 2" | Ball Valve | FDC2.00-QT-LL | FDC2.00-QT-LL-S | 2" 950XL |  |  |  | N/A | N/A |  | N/A | N/A

## Large Diameter
BEECO Large Diameter Lead Free Backflow Cross Reference
ASSE | Model | Size | Shut Off valve | BEECO BARRACUDA | BEECO BARRACUDA | Wilkins | WATTS | Apollo | Apollo w/strainer | FDC 1st Check | FDC 2nd Check | Check Rubber Only Kit FDC and FRP | FRP First Check | FRP Second Check | FRP Relief Valve Rubber Kit
Stainless Steel
|  |  |  | FDC SS MODEL | FDC SS W/STRAINER | 350A | 774 | 4A | 4A | Repair Kits
1015 | DC | 2-1/2" | Non-rising Stem | FDC2.50-SS-NRS | FDC2.50-SS-NRS-S | 212-350AST | 2-1/2" 774-NRS | 4ALF10902 | 4ALF11902 | FDC4.00-SS-CHECK-1ST | FDC4.00-SS-CHECK-2ND | FDC-FRP4.0-SS-RUBKIT | N/A | N/A | N/A
1015 | DC | 3" | Non-rising Stem | FDC3.00-SS-NRS | FDC3.00-SS-NRS-S | 3-350AST | 3" 774-NRS | 4ALF10002 | 4ALF11002 | FDC4.00-SS-CHECK-1ST | FDC4.00-SS-CHECK-2ND | FDC-FRP4.0-SS-RUBKIT
1015 | DC | 4" | Non-rising Stem | FDC4.00-SS-NRS | FDC4.00-SS-NRS-S | 4-350AST | 4" 774-NRS | 4ALF10A02 | 4ALF11A02 | FDC4.00-SS-CHECK-1ST | FDC4.00-SS-CHECK-2ND | FDC-FRP4.0-SS-RUBKIT
1015 | DC | 6" | Non-rising Stem | FDC6.00-SSX-NRS | FDC6.00-SSX-NRS-S | 6-350AST | 6" 774-NRS | 4ALF10C02 | 4ALF11C02 | FDC8.00-SS-CHECK-1ST | FDC8.00-SS-CHECK-2ND | FDC-FRP8.0-SS-RUBKIT
1015 | DC | 8" | Non-rising Stem | FDC8.00-SS-NRS | FDC8.00-SS-NRS-S | 8-350AST | 8" 774-NRS | 4ALF10E02 | 4ALF11E02 | FDC8.00-SS-CHECK-1ST | FDC8.00-SS-CHECK-2ND | FDC-FRP8.0-SS-RUBKIT
|  |  |  | FDC SS MODEL | FDC SS W/STRAINER | 350 | 774 | 4A | 4A | Repair Kits
1015 | DC | 2-1/2" | OS&Y | FDC2.50-SS-OSY | FDC2.50-SS-OSY-S | 212-350ASTOSY | 2-1/2" 774-OSY | 4ALF10903 | 4ALF11903 | FDC4.00-SS-CHECK-1ST | FDC4.00-SS-CHECK-2ND | FDC-FRP4.0-SS-RUBKIT | N/A | N/A | N/A
1015 | DC | 3" | OS&Y | FDC3.00-SS-OSY | FDC3.00-SS-OSY-S | 3-350ASTOSY | 3" 774-OSY | 4ALF10003 | 4ALF11003 | FDC4.00-SS-CHECK-1ST | FDC4.00-SS-CHECK-2ND | FDC-FRP4.0-SS-RUBKIT
1015 | DC | 4" | OS&Y | FDC4.00-SS-OSY | FDC4.00-SS-OSY-S | 4-350ASTOSY | 4" 774-OSY | 4ALF10A03 | 4ALF11A03 | FDC4.00-SS-CHECK-1ST | FDC4.00-SS-CHECK-2ND | FDC-FRP4.0-SS-RUBKIT
1015 | DC | 6" | OS&Y | FDC6.00-SSX-OSY | FDC6.00-SSX-OSY-S | 6-350ASTOSY | 6" 774-OSY | 4ALF10C03 | 4ALF11C03 | FDC8.00-SS-CHECK-1ST | FDC8.00-SS-CHECK-2ND | FDC-FRP8.0-SS-RUBKIT
1015 | DC | 8" | OS&Y | FDC8.00-SS-OSY | FDC8.00-SS-OSY-S | 8-350ASTOSY | 8" 774-OSY | 4ALF10E03 | 4ALF11E03 | FDC8.00-SS-CHECK-1ST | FDC8.00-SS-CHECK-2ND | FDC-FRP8.0-SS-RUBKIT
|  |  |  | FRP SS MODEL | FRP SS W/STRAINER | 375 | 994 | 4A | 4A | Repair Kits
1013 | RP | 2-1/2" | Non-rising Stem | FRP2.50-SS-NRS | FRP2.50-SS-NRS-S | 212-375AST | 2-1/2" 994-NRS | 4ALF20902 | 4ALF21902 | N/A | N/A | FDC-FRP4.0-SS-RUBKIT | FRP4.00-SS-CHECK-1ST | FRP4.00-SS-CHECK-2ND | FRP2-8-SS-REL-KIT
1013 | RP | 3" | Non-rising Stem | FRP3.00-SS-NRS | FRP3.00-SS-NRS-S | 3-375AST | 3" 994-NRS | 4ALF20002 | 4ALF21002 |  |  | FDC-FRP4.0-SS-RUBKIT | FRP4.00-SS-CHECK-1ST | FRP4.00-SS-CHECK-2ND | FRP2-8-SS-REL-KIT
1013 | RP | 4" | Non-rising Stem | FRP4.00-SS-NRS | FRP4.00-SS-NRS-S | 4-375AST | 4" 994-NRS | 4ALF20A02 | 4ALF21A02 |  |  | FDC-FRP4.0-SS-RUBKIT | FRP4.00-SS-CHECK-1ST | FRP4.00-SS-CHECK-2ND | FRP2-8-SS-REL-KIT
1013 | RP | 6" | Non-rising Stem | FRP6.00-SSX-NRS | FRP6.00-SSX-NRS-S | 6-375AST | 6" 994-NRS | 4ALF20C02 | 4ALF21C02 |  |  | FDC-FRP8.0-SS-RUBKIT | FRP8.00-SS-CHECK-1ST | FRP8.00-SS-CHECK-2ND | FRP2-8-SS-REL-KIT
1013 | RP | 8" | Non-rising Stem | FRP8.00-SS-NRS | FRP8.00-SS-NRS-S | 8-375AST | 8" 994-NRS | 4ALF20E02 | 4ALF21E02 |  |  | FDC-FRP8.0-SS-RUBKIT | FRP8.00-SS-CHECK-1ST | FRP8.00-SS-CHECK-2ND | FRP2-8-SS-REL-KIT
|  |  |  | FRP SS MODEL | FRP SS W/STRAINER | 375 | 994 | 4A | 4A | Repair Kits
1013 | RP | 2-1/2" | OS&Y | FRP2.50-SS-OSY | FRP2.50-SS-OSY-S | 212-375ASTOSY | 2-1/2" 994-OSY | 4ALF20903 | 4ALF21903 | N/A | N/A | FDC-FRP4.0-SS-RUBKIT | FRP4.00-SS-CHECK-1ST | FRP4.00-SS-CHECK-2ND | FRP2-8-SS-REL-KIT
1013 | RP | 3" | OS&Y | FRP3.00-SS-OSY | FRP3.00-SS-OSY-S | 3-375ASTOSY | 3" 994-OSY | 4ALF20003 | 4ALF21003 |  |  | FDC-FRP4.0-SS-RUBKIT | FRP4.00-SS-CHECK-1ST | FRP4.00-SS-CHECK-2ND | FRP2-8-SS-REL-KIT
1013 | RP | 4" | OS&Y | FRP4.00-SS-OSY | FRP4.00-SS-OSY-S | 4-375ASTOSY | 4" 994-OSY | 4ALF20A03 | 4ALF21A03 |  |  | FDC-FRP4.0-SS-RUBKIT | FRP4.00-SS-CHECK-1ST | FRP4.00-SS-CHECK-2ND | FRP2-8-SS-REL-KIT
1013 | RP | 6" | OS&Y | FRP6.00-SSX-OSY | FRP6.00-SSX-OSY-S | 6-375ASTOSY | 6" 994-OSY | 4ALF20C03 | 4ALF21C03 |  |  | FDC-FRP8.0-SS-RUBKIT | FRP8.00-SS-CHECK-1ST | FRP8.00-SS-CHECK-2ND | FRP2-8-SS-REL-KIT
1013 | RP | 8" | OS&Y | FRP8.00-SS-OSY | FRP8.00-SS-OSY-S | 8-375ASTOSY | 8" 994-OSY | 4ALF20E03 | 4ALF21E03 |  |  | FDC-FRP8.0-SS-RUBKIT | FRP8.00-SS-CHECK-1ST | FRP8.00-SS-CHECK-2ND | FRP2-8-SS-REL-KIT
Epoxy Coated Ductile Iron
ASSE | CSA | Model | Size | Shut Off valve | BEECO | BEECO | Wilkins | WATTS | Apollo | Apollo w/strainer | FDC Check | FDC Check Rubber Kit | FRP First Check | FRP Second Check | FRP Check Rubber Kit | FRP Relief Valve Rubber Kit
Expoxy Coated Ductile Iron
[5 empty] | FDC | FDC W/STRAINER | 350A | LF709 | 4SG | 4SG | Repair Kits |  | N/A | N/A | N/A | N/A
1015 | B64.5 | DC | 2-1/2" | NRS | FDC2.50-NRS | FDC2.50-NRS-S | 212-350A | 2-1/2" LF709-NRS | 4SGLF10902 | 4SGLF11902 | FDC4.00-CHECK | FDC4.00-RUBBER-KIT
1015 | B64.5 | DC | 3" | NRS | FDC3.00-NRS | FDC3.00-NRS-S | 3-350A | 3" LF709-NRS | 4SGLF10002 | 4SGLF11002 | FDC4.00-CHECK | FDC4.00-RUBBER-KIT
1015 | B64.5 | DC | 4" | NRS | FDC4.00-NRS | FDC4.00-NRS-S | 4-350A | 4" LF709-NRS | 4SGLF10A02 | 4SGLF11A02 | FDC4.00-CHECK | FDC4.00-RUBBER-KIT
1015 | B64.5 | DC | 6" | NRS | FDC6.00-NRS | FDC6.00-NRS-S | 6-350A | 6" LF709-NRS | 4SGLF10C02 | 4SGLF11C02 | FDC6.00-CHECK | FDC6.00-RUBBER-KIT
|  | DC | 8" | NRS | FDC8.00-NRS | FDC8.00-NRS-S | 8-350A | 8" LF709-NRS | 4SGLF10E02 | 4SGLF11E02 | FDC10.00-CHECK | FDC10.00-RUBBER-KIT
|  | DC | 10" | NRS | FDC10.00-NRS | FDC10.00-NRS-S | 10-350A | 10" LF709-NRS | 4SGLF10G02 | 4SGLF11G02 | FDC10.00-CHECK | FDC10.00-RUBBER-KIT
[7 empty] | 350 | LF709 | 4SG | 4SG | Repair Kits
1015 | B64.5 | DC | 2-1/2" | OS&Y | FDC2.50-OSY | FDC2.50-OSY-S | 212-350AOSY | 2-1/2" LF709-OSY | 4SGLF10903 | 4SGLF11903 | FDC4.00-CHECK | FDC4.00-RUBBER-KIT |  | N/A | N/A | N/A
1015 | B64.5 | DC | 3" | OS&Y | FDC3.00-OSY | FDC3.00-OSY-S | 3-350AOSY | 23" LF709-OSY | 4SGLF10003 | 4SGLF11003 | FDC4.00-CHECK | FDC4.00-RUBBER-KIT
1015 | B64.5 | DC | 4" | OS&Y | FDC4.00-OSY | FDC4.00-OSY-S | 4-350AOSY | 4" LF709-OSY | 4SGLF10A03 | 4SGLF11A03 | FDC4.00-CHECK | FDC4.00-RUBBER-KIT
1015 | B64.5 | DC | 6" | OS&Y | FDC6.00-OSY | FDC6.00-OSY-S | 6-350AOSY | 6" LF709-OSY | 4SGLF10C03 | 4SGLF11C03 | FDC6.00-CHECK | FDC6.00-RUBBER-KIT
|  | DC | 8" | OS&Y | FDC8.00-OSY | FDC8.00-OSY-S | 8-350AOSY | 8" LF709-OSY | 4SGLF10E03 | 4SGLF11E03 | FDC10.00-CHECK | FDC10.00-RUBBER-KIT
|  | DC | 10" | OS&Y | FDC10.00-OSY | FDC10.00-OSY-S | 10-350AOSY | 10" LF709-OSY | 4SGLF10G03 | 4SGLF11G03 | FDC10.00-CHECK | FDC10.00-RUBBER-KIT
[5 empty] | FRP | FRP W/STRAINER | 375A | LF909 |  |  |  |  | Repair Kits |  | Repair Kits
1013 | B64.4 | RP | 2-1/2" | Non-rising Stem | FRP2.50-NRS | FRP2.50-NRS-S | 212-375A | 2-1/2" LF909-NRS | N/A | N/A | N/A | N/A | FRP4.00-CHECK-1ST | FRP4.00-CHECK-2ND | FRP4.00-RUBBER-KIT | FRP6.00-RV-KIT
1013 | B64.4 | RP | 3" | Non-rising Stem | FRP3.00-NRS | FRP3.00-NRS-S | 3-375A | 3" LF909-NRS |  |  |  |  | FRP4.00-CHECK-1ST | FRP4.00-CHECK-2ND | FRP4.00-RUBBER-KIT | FRP6.00-RV-KIT
1013 | B64.4 | RP | 4" | Non-rising Stem | FRP4.00-NRS | FRP4.00-NRS-S | 4-375A | 4" LF909-NRS |  |  |  |  | FRP4.00-CHECK-1ST | FRP4.00-CHECK-2ND | FRP4.00-RUBBER-KIT | FRP6.00-RV-KIT
1013 | B64.4 | RP | 6" | Non-rising Stem | FRP6.00-NRS | FRP6.00-NRS-S | 6-375A | 6" LF909-NRS |  |  |  |  | FRP6.00-CHECK-1ST | FRP6.00-CHECK-2ND | FRP6.00-RUBBER-KIT | FRP6.00-RV-KIT
1013 |  | RP | 8" | Non-rising Stem | FRP8.00-NRS | FRP8.00-NRS-S | 8-375A | 8" LF909-NRS |  |  |  |  | FRP10.00-CHECK-1ST | FRP10.00-CHECK-2ND | FRP10.00-RUBBER-KIT | FRP10.00-RV-KIT
1013 |  | RP | 10 | Non-rising Stem | FRP10.00-NRS | FRP10.00-NRS-S | 10-375A | 10" LF909-NRS |  |  |  |  | FRP10.00-CHECK-1ST | FRP10.00-CHECK-2ND | FRP10.00-RUBBER-KIT | FRP10.00-RV-KIT
[5 empty] | FRP | FRP W/STRAINER | 375 | LF909 |  |  |  |  | Repair Kits |  | Repair Kits
1013 | B64.4 | RP | 2-1/2" | OS&Y | FRP2.50-OSY | FRP2.50-OSY-S | 212-375AOSY | 2-1/2" LF909-OSY | N/A | N/A | N/A | N/A | FRP4.00-CHECK-1ST | FRP4.00-CHECK-2ND | FRP4.00-RUBBER-KIT | FRP6.00-RV-KIT
1013 | B64.4 | RP | 3" | OS&Y | FRP3.00-OSY | FRP3.00-OSY-S | 3-375AOSY | 3" LF909-OSY |  |  |  |  | FRP4.00-CHECK-1ST | FRP4.00-CHECK-2ND | FRP4.00-RUBBER-KIT | FRP6.00-RV-KIT
1013 | B64.4 | RP | 4" | OS&Y | FRP4.00-OSY | FRP4.00-OSY-S | 4-375AOSY | 4" LF909-OSY |  |  |  |  | FRP4.00-CHECK-1ST | FRP4.00-CHECK-2ND | FRP4.00-RUBBER-KIT | FRP6.00-RV-KIT
1013 | B64.4 | RP | 6" | OS&Y | FRP6.00-OSY | FRP6.00-OSY-S | 6-375AOSY | 6" LF909-OSY |  |  |  |  | FRP6.00-CHECK-1ST | FRP6.00-CHECK-2ND | FRP6.00-RUBBER-KIT | FRP6.00-RV-KIT
1013 |  | RP | 8" | OS&Y | FRP8.00-OSY | FRP8.00-OSY-S | 8-375AOSY | 8" LF909-OSY |  |  |  |  | FRP10.00-CHECK-1ST | FRP10.00-CHECK-2ND | FRP10.00-RUBBER-KIT | FRP10.00-RV-KIT
1013 |  | RP | 10" | OS&Y | FRP10.00-OSY | FRP10.00-OSY-S | 10-375AOSY | 10" LF909-OSY |  |  |  |  | FRP10.00-CHECK-1ST | FRP10.00-CHECK-2ND | FRP10.00-RUBBER-KIT | FRP10.00-RV-KIT