## TD-2020
TD-2020 |  |  | Updated: | 2020-06-10
Trench Drain Systems (LIT-046)
Item # | Description | Prod Line | List Price | UPC
T1330-FL-FAB-PBO4 | T1330 4" NO-HUB BOTTOM OUTLET | Fab St TD | 51
T1330-FL-FAB-PEC | T1330 CLOSED END CAP | Fab St TD | 51
T1360-FL-FAB-PEC | T1360 SERIES CLOSED END CAP | Fab St TD | 67.84
T1360-FL-FAB-PGLVP | VANDAL RESISTANT GRTE LCKDWN HRDWRE (SUFFIX -6) | Fab St TD | 67.84
T1360-PBDS-6 | PERFORATED STEEL BOTTOM DOME STRAINER FOR T1366 TRENCH | T2000 | 90.88
T1400-160IN-PBO4 | 160 4 B.O. TRENCH RUN | T1400 | 1676.8
T1400-18SEC-PEO4 | 18 SECTION B.O. TRENCH RUN | T1400 | 7260.16
T1400-864IN-CB620 | 72' TRENCH RUN - CATCH BASIN | T1400 | 2042.88
T1400-CB1224 | T1400 SERIES 12"x24" CATCH BASIN | T1400 | 1280 | 779897662645
T1400-CB1224-NI-F322 | 12X24 CATCH BASIN FAB STL 21DPTH - NO IN 3 SO | T1400 | 897.28 | 779897172465
T1400-CB620 | T1400 SERIES 6"x20" CATCH BASIN | T1400 | 567.04 | 779897662669
T1400-CB620-4-PE4 | 4"NH END OUTLET T1400 SERIES 6"x20" CATCH BASIN/DI GRT | T1400 | 637.76
T1400-CB620-4HD-5SEC | 4"NH SO TD w/6x20 CTCH BSN/DI GRT & FRM/ L=5 SEC | T1400 | 3559.3216
T1400-CB620-88 | 6X20 CATCH BASIN COMPONENT W/ POUR BOARD | T1400 | 556.8
T1400-CB620-PO4 | 4 UNISEAL PIPE TO TANK GASKET | T1400 | 556.8
T1400-CB6204HPHD3.5M | 4"NH SO TD w/6x20 CTCH BSN/DI GRT & FRM/ L=5 SEC | T1400 | 2947.7248
T1400-CLIP-88 | T1400 6 TRENCH SERIES- QUICK CLIP | T1400 | 6.4
T1400-CO4-DDA-2SEC | 4"NH CNT OUT 6"W POLY TD/SS DIAG DECOR GRT/L=2 SEC | T1400 | 3171.7376
T1400-CO4-HPSS-7FT | 4"NH CNT OUT 6"W POLY TD/SS HP SLTD GRT/L=7FT | T1400 | 3336.2048
T1400-CUT | Cutting / per cut - Net Price only | T1400 | 119 | 779897172519
T1400-EO-4-7.5SEC | 7.5 METER/ END OUTLET/ DI GRATES | T1400 | 3404.8
T1400-FS | FAB. S.S (TYPE304) SLOTTED GRATE | T1400 | 131.84 | 779897072819
T1400-FS-BO4-14FT | 4"NH BO TD/FAB SS SLTD GRTE/L=14FT | T1400 | 3402.0864
T1400-HPSS-BO4-54IN | 4"NH BO SS HP SLTD GRTE/ L=54IN | T1400 | 1025.8432
T1400-LG-PFO-TA-3 | D.I. LONGITUD GRATE AND FRAME WITH S.S VENEER/OPEN END | T1400 | 395.05 | 779897026843
T1400-PB | KQ ONLY | T1400 | 311.04
T1400-PBDS | Bottom dome strainer | T1400 | 60 | 779897662737
T1400-PBO4 | 3" & 4" BOTTOM OUTLET PVC w/ MOUNTING HDWR | T1400 | 29 | 779897662744
T1400-PBO6 | 6"NH FAB STL BOTTOM OUTLET w/ MOUNTING HDWR | T1400 | 96
T1400-PBRD | Support board (one per body always included) | T1400 | 70.4 | 779897662751
T1400-PBRD-45 | 45 DEGREE SUPPORT BOARD | T1400 | 70.4
T1400-PBRD-45-88 | 45 DEGREE SUPPORT BOARD | T1400 | 71.68
T1400-PBRD-88 | SUPPORT BOARD COMPONENT POLYPRO | T1400 | 71.68
T1400-PC-45 | FRAME FOR THE 45 DEGREE DUCTILE IRON GRATE | T1400 | 43.52 | 779897662638
T1400-PCPL | COUPLING--NON LIGHTHOUSE ONLY | T1400 | 64 | 779897663697
T1400-PE04 | Includes the T1400-PE04-30 end outler two pieces of bo | T1400 | 30.72 | 779897662775
T1400-PEC | INCLUDES T1400-PEC-30 ENDCAP,2 T1400-CLIP, T1400-PEFC | T1400 | 29 | 779897662768
T1400-PEC-30 | Closed end cap | T1400 | 32 | 779897172588
T1400-PEC-30-88 | T1400 END CAP PVC COMPONENT | T1400 | 32
T1400-PEC-88 | T1400 END CAP POLYPROPYLENE | T1400 | 32
T1400-PEFC-30-88 | 6 TRENCH DRAIN FINISHING CAP PVC | T1400 | 6.4
T1400-PEFC-88 | FINISHING CAP POLYPROPYLENE | T1400 | 6.4
T1400-PEFC-FAB | Top Finish Cap - FAB MILD STEEL | T1400 | 32
T1400-PEFCV-FAB-3 | STAINLESS STEEL VENEER FOR T1400 END FINISHING CAP | T1400 | 107.52
T1400-PEO4 | 4 END OUTLET/END CAP POLYPROPYLENE | T1400 | 29
T1400-PEO4-30 | 4 END OUTLET/END CAP PVC | T1400 | 32 | 779897172601
T1400-PEO4-30-88 | 4 END OUTLET/END CAP PVC COMPONENT | T1400 | 32
T1400-PEO4-88 | 4 END OUTLET/END CAP POLYPROPYLENE | T1400 | 32
T1400-PEO6 | 6 END OUTLET/END CAP PVC | T1400 | 32
T1400-PEO6-30 | 6 END OUTLET/END CAP PVC | T1400 | 32
T1400-PF-45 | EXTRA H.D ANGLE C.I FRAME ASSEM. (ANGLE BODY) | T1400 | 56.32 | 779897662782
T1400-PF-45-13 | EXTRA H.D ANGLE GALV. C.I FRAME ASSEM. (ANGLE BDY) | T1400 | 124.16 | 779897662799
T1400-PF-45-TA-3 | EXTRA HD DI SLOTTED 45 DEG GRATE/FRAME W/ SS VENEER | T1400 | 168.96 | 779897072833
T1400-PF-SVF | Type 304 Stainless Steel top veneer frame, 2 pieces, 1 | T1400 | 106.67 | 779897662874
T1400-PF-SVF-18 | TYPE 304 S.S VENEER RAILSFOR TR. BDY(SET) 18 | T1400 | 106.24
T1400-PF-SVF-45-LI | TYPE 304 S.S VENEER45 DEGREE RAILS FOR TRENCH BDY LIGH | T1400 | 53.76 | 779897172649
T1400-PF-SVF-C | TYPE 304 S.S VENEER RAILS FOR TRENCH BDY CLOSED END | T1400 | 117.76 | 779897172656
T1400-PF-SVF-C-18 | 304 S.S VENEER RAILS FOR TRENCH BDY CLOSED END / 18 | T1400 | 53.76
T1400-PF-SVF-C-45-LI | TYPE 304 S.S VENEER45 DEGREE RAILSTRNCH BDY CLSDEND LI | T1400 | 53.76 | 779897172663
T1400-PF-SVF-C-LI | TYPE 304 S.S VENEER RAILS TRENCH BDY CLSD-END LIGHTHOU | T1400 | 117.76 | 779897172670
T1400-PF-SVF-LI | TYPE 304 S.S VENEER RAILSFOR TRENCH BDY(SET) LIGHTOUSE | T1400 | 117.76 | 779897172687
T1400-PFC | CAST 6X20 FRAME (CLOSED) | T1400 | 65.28 | 779897662812
T1400-PFC-11 | CAST FRAME EPOXY COATED (CLOSED) | T1400 | 128 | 779897084386
T1400-PFC-13 | CAST FRAME GALV. COATED (CLOSED) | T1400 | 128 | 779897662829
T1400-PFC-3 | CAST FRAME W/SS VENEER (CLOSED) | T1400 | 204.8 | 779897662836
T1400-PFC-TA-3 | D.I. GRATE AND FRAME WITH S.S VENEER/CLOSED END FRAME | T1400 | 348.16 | 779897072864
T1400-PFO | Extra H.D. 1 metre long angle iron steel frame assembl | T1400 | 124.77 | 779897662843
T1400-PFO-13 | Extra H.D. 1 metre long galvanized angle iron steel fr | T1400 | 239.68 | 779897072888
T1400-PFO-28.25 | CAST 6X28.5 FRAME (OPEN) | T1400 | 163.84
T1400-PFO-3 | Extra H.D. 1m angle iron frame assy w/SS veneers | T1400 | 383.33 | 779897662867
T1400-PFO-3-CB | Extra HD 1/2m angle steel frm assy/SS venr/Anchr Studs | T1400 | 567.04
T1400-PFO-90 | H.D. ANGLE IRON FRAME FOR T1400-90 BODIES | T1400 | 268.8
T1400-PFO-CB | Extra HD 1/2 metre long iron steel frame- catch basin | T1400 | 163.84
T1400-PFO-HALF | CAST 6X20 FRAME FOR CB620 | T1400 | 160
T1400-PFO-TA-3 | D.I.GRATE AND FRAME WITH SS VENEER/OPEN END FRAME | T1400 | 358.45 | 779897072895
T1400-PG-4 | Ductile Iron, Extra Heavy Duty, Ductile Iron Slotted G | T1400 | 33.54 | 779897662577
T1400-PG-4-1.25 | 5X1.25 D.I GRATE | T1400 | 35.84
T1400-PG-4-1.25-WF | 5X1.25 D.I GRATE - WHOLE FOODS | T1400 | 28
T1400-PG-4-10 | 5X10 D.I GRATE | T1400 | 35.84
T1400-PG-4-10IN | 5X10 D.I GRATE | T1400 | 35.84
T1400-PG-4-11 | 5X20 DI GALV. EXPOXY COATED | T1400 | 48.64 | 779897084393
T1400-PG-4-13 | Ductile Iron, Galvanized, Extra Heavy Duty, Ductile Ir | T1400 | 35 | 779897662584
T1400-PG-4-13-45 | GAL. SLOTTED 45 DEGREE GRATE ( ANGLED BODY ) | T1400 | 337.92 | 779897662881
T1400-PG-4-2.062 | 5X2.062 D.I GRATE | T1400 | 189.44
T1400-PG-4-2.5 | 5X2.5 D.I GRATE | T1400 | 35.84
T1400-PG-4-20.3 | 5 X .3 D.I GRATE | T1400 | 113.92
T1400-PG-4-20.685 | 5 X .685 D.I GRATE | T1400 | 113.92
T1400-PG-4-20.935 | 5 X .935 D.I GRATE | T1400 | 113.92
T1400-PG-4-21.935 | 5 X 1.935 D.I GRATE | T1400 | 113.92
T1400-PG-4-22.435 | 5 X 2.435 D.I GRATE | T1400 | 113.92
T1400-PG-4-3 | 5X20 DI/SS VENEER GRATE | T1400 | 112.02 | 779897072901
T1400-PG-4-3-11B | 5"x20" ARE BLACK DI GRATE/SS VENEER GRATE | T1400 | 160
T1400-PG-4-3-7.25IN | 5X7.25 DI/SS VENEER GRATE | T1400 | 154.88
T1400-PG-4-45 | EXTRA H.D D.I SLOTTED 45° GRATE (ANGLE BODY) | T1400 | 337.92 | 779897662898
T1400-PG-4-8.25 | 5 X 8.25 D.I GRATE | T1400 | 35.84
T1400-PG-4-88 | 5X20 D.I GRATE | T1400 | 35.84
T1400-PG-4-ME | 5X20 D.I GRATE | T1400 | 39.68 | 779897172717
T1400-PG-4-TEE | D.I. EXTRA HD,TEE SLOTTED GRATE | T1400 | 39.68
T1400-PG-CDC | 40" LONG A.R.E. COATED STL. CIRC. GRATE - CLASS C | T1400 | 133.33
T1400-PG-DDA | T1400 SS 40" Diagonal Decorative Grte- Class A | T1400 | 1123.77
T1400-PG-DDB | T1400 SS 40" Diagonal Decorative Grte- Class B | T1400 | 1056.67
T1400-PG-DWG | T1400 DECOR WAVE GRATE- L=39.4" | T1400 | 113.77
T1400-PG-FS | 40" LONG FAB SS SLOTTED GRATE - CLASS A | T1400 | 163.77 | 779897662904
T1400-PG-FS-45 | FAB. SS (TYPE 304) SLOTTED 45 DEGREE GRATE | T1400 | 396.8 | 779897662911
T1400-PG-FS-500 | 20" LONG FAB SS SLOTTED GRATE - CLASS A | T1400 | 183.04
T1400-PG-FSB | 40" LONG GALV STL SLOTTED GRATE - CLASS B | T1400 | 46.67
T1400-PG-FSB-500 | 20" LONG GALV STL SLOTTED GRATE - CLASS B | T1400 | 224
T1400-PG-FSGA | 40" LONG GALV STL SLOTTED GRATE - CLASS A | T1400 | 75.13
T1400-PG-FSGA-500 | 20" LONG GALV STL SLOTTED GRATE - CLASS A | T1400 | 17.92
T1400-PG-HP-4 | Ductile Iron, Heel Proof Slotted Grate | T1400 | 65 | 779897168383
T1400-PG-HP-4-13 | Ductile Iron, Galvanized, Heel Proof Longitudinal Slot | T1400 | 150.22
T1400-PG-HPP | Polypropylene, Heel Proof Slotted Grate - Class A, 20 | T1400 | 13.33 | 779897072918
T1400-PG-HPP-45 | H.D POLY. 45 DEGREE HEEL PROOF GRATE | T1400 | 34.56 | 779897072925
T1400-PG-HPP-45-GRAY | H.D LT GRAY POLY. 45 DEGREE HEEL PROOF GRATE | T1400 | 34.56 | 779897172779
T1400-PG-HPP-GRAY | H.D LT GRAY POLY HEEL PROOF GRATE | T1400 | 13.33 | 779897172786
T1400-PG-HPP-TAN | H.D TAN POLY HEEL PROOF GRATE | T1400 | 13.33 | 779897172793
T1400-PG-HPSS | 40" LONG SS HEEL PROOF SLOTTED GRATE - CLASS A | T1400 | 1123.77
T1400-PG-HPSS-10.5IN | 10.5" LONG SS HEEL PROOF SLOTTED GRATE - CLASS A | T1400 | 239.36
T1400-PG-HPSS-19.5IN | 19.5" LONG SS HEEL PROOF SLOTTED GRATE - CLASS A | T1400 | 239.36
T1400-PG-HPSS-500 | 20" LONG SS HEEL PROOF SLOTTED GRATE - CLASS A | T1400 | 52.48
T1400-PG-LG-4 | Ductile Iron, Extra Heavy Duty, Ductile Iron Longitudi | T1400 | 65 | 779897072932
T1400-PG-LG-4-13 | GALV 6"x20" DI LONGTD SLTTD GRATE | T1400 | 172.22 | 779897072956
T1400-PG-LG-4-3 | EXTRA HD LONGITUDINAL D.I SLOTTED GRATE W/ SS VENEER | T1400 | 124.48 | 779897172816
T1400-PG-LG-4-45 | EXTRA HD DI SLOTTED LONG. 45 DEGREE GRATE | T1400 | 85.76 | 779897072970
T1400-PG-LGHP | 40" LONG STEEL HEEL PRF LONGITUDINAL GRATE - CLASS B | T1400 | 113.77
T1400-PG-LGHP-500 | 20" LONG STEEL HEEL PRF LONGITUDINAL GRATE - CLASS B | T1400 | 166.4
T1400-PG-PGG-500 | 20" LONG GALV STL PERF GRATE - CLASS A | T1400 | 17.92
T1400-PG-PHPP | Polypropylene, Perforated Grate - Class A, 20 long | T1400 | 46.88
T1400-PG-PS | 40" SS FABRICATED PERFORATED GRATE - CLASS A | T1400 | 163.77 | 779897072987
T1400-PG-PS-45 | FAB. SS (TYPE 304) PERFORATED 45 DEGREE GRATE | T1400 | 396.8 | 779897072994
T1400-PG-PS-45-LI | FAB. SS (TYPE 304) PERFORATED 45 DEGREE GRATE LIGHTHOU | T1400 | 396.8 | 779897172892
T1400-PG-PS-500 | 20" LONG GALV STL SLOTTED GRATE - CLASS A | T1400 | 52.48
T1400-PG-RFS | 40" LONG FAB SS SLOTTED GRATE - CLASS B | T1400 | 333.33 | 779897073007
T1400-PG-RFS-45 | FAB. REINFORCED SS (TYPE 304) SLOTTED 45 DEGREE GRATE | T1400 | 611.84 | 779897073014
T1400-PG-RFS-500 | 20" LONG FAB SS SLOTTED GRATE - CLASS B | T1400 | 311.4624
T1400-PG-RG | 40" LONG FAB GALV STL PERF GRATE - CLASS B | T1400 | 123.33 | 779897073021
T1400-PG-RG-45 | REINFORCED PERFORATED GALV. STEEL 45 DEGREE GRATE | T1400 | 337.92 | 779897073038
T1400-PG-RG-500 | 20" LONG FAB GALV STL PERF GRATE - CLASS B | T1400 | 20.48
T1400-PG-RPS | Stainless Steel, Fabricated Reinforced Perforated Grat | T1400 | 333.33 | 779897073045
T1400-PG-RPS-18 | FAB. REINFORCED SS (TYPE 304) PERFORATED GRATE/ 18 | T1400 | 309.76
T1400-PG-RPS-45 | FAB. REINFORCED SS (TYPE 304) PERFORATED GRATE 45 DEG | T1400 | 309.76 | 779897073052
T1400-PG-RPS-500 | 1/2 METER SS FAB REINCFORCE PERF GRATE | T1400 | 345.6
T1400-PG-SBG | 40" LONG SS FAB BAR GRATE - CLASS E | T1400 | 1056.67 | 779897073069
T1400-PG-SBG-500 | 20" LONG SS FAB BAR GRATE - CLASS E | T1400 | 628.48
T1400-PG-SBGGS | 40" LONG GALV STEEL FAB SLOTTED BAR GRATE- CLASS C | T1400 | 400
T1400-PG-SBGGS-500 | 20" LONG GALV STEEL FAB SLOTTED BAR GRATE- CLASS E | T1400 | 49.92
T1400-PG-SBGHP | 40" LONG FAB SS HEEL PROOF BAR GRATE | T1400 | 1195.52 | 779897073083
T1400-PG-SBGHP-500 | 20" LONG FAB SS HEEL PROOF BAR GRATE | T1400 | 588.8
T1400-PG-SBGHP-HD | FAB SS (TYPE 304) HEEL PROOF BAR GRATE/HEAVY DUTY | T1400 | 976.64 | 779897172922
T1400-PG-SBGST | 40" LONG STEEL FAB BAR GRATE - CLASS C | T1400 | 400
T1400-PG-SC | 40" LONG FAB STEEL SOLID COVER - CLASS E | T1400 | 260.43
T1400-PG-SC-500 | 20" LONG FAB STEEL SOLID COVER - CLASS E | T1400 | 112.64
T1400-PG-SDG | 40" LONG STEEL FAB DECORATIVE GRATE - CLASS B | T1400 | 113.77
T1400-PG-SPCR | T1400 SPACER | T1400 | 19.2 | 779897073106
T1400-PG-SSDB | 40" LONG SS FAB DIAGONAL DECORATIVE GRATE - CLASS B | T1400 | 1056.67
T1400-PG45 | 45 DEGREE DUCTILE GRATE (INACTIVE) | T1400 | 26.88 | 779897662591
T1400-PG45-13 | 45 DEGREE DI GRATE GALV. COATED | T1400 | 21.76 | 779897073120
T1400-PGG | T1400 GALV FAB STEEL PERF GRATE-CLASS A 40" LONG | T1400 | 44.8 | 779897073137
T1400-PGL-HPP | 3 STEEL/GALV/ GRATE LOCKDOWN BAR & BOLT FOR HP GRATE | T1400 | 5.12
T1400-PGL-STL | 3 1/2" LONG GRATE LOCKDOWN ASSEMBLY | T1400 | 5.12 | 779897026904
T1400-PGL-STL-88 | 3 STEEL/GALV/ GRATE LOCKDOWN BAR & GALV BOLT KIT | T1400 | 5.12
T1400-PGL-STL-SS | 3 SS/ GRATE LOCKDOWN BAR & BOLT KIT | T1400 | 29 | 779897172847
T1400-PGL-STL-SS-88 | 3 SS/ GRATE LOCKDOWN BAR & BOLT KIT | T1400 | 34.56
T1400-PGLVP | 3 1/2 long vandal resistant grate lockdown hardware | T1400 | 9 | 779897663017
T1400-PGV-3-45 | EXTRA HD D.I SLOTTED 45 DEGREE GRATE W/ SS VENEER | T1400 | 138.24 | 779897172939
T1400-PGV-4-3-45 | EXTRA HD D.I SLOTTED 45 DEGREE GRATE W/ SS VENEER | T1400 | 170.24 | 779897663154
T1400-PGV-LG-3 | SS VENEER FOR T1400-PG-LG-4 | T1400 | 154.88 | 779897172953
T1400-PGV-LG-4-3-45 | Ductile Iron, Extra Heavy Duty Longitudinal Slotted Gr | T1400 | 207.36 | 779897663178
T1400-POSB | POLY PRO DROP IN SED BUCKET FOR T1400-TRENCH | T1400 | 40.96 | 779897073168
T1400-RPGG | 20 REIN. PERF. FAB GALV. STEEL GRATE | T1400 | 285.44 | 779897172960
T1400-SB-13 | GALV. BUCKET FOR 6X20 T1400 CATCH BASIN CB620 | T1400 | 189.44 | 779897663208
T1400-SB-3 | STAINLESS STEEL BUCKET FOR T1400-CB620 CATCH BASIN | T1400 | 176.64 | 779897663239
T1400-SB-3-88 | STAINLESS STEEL BUCKET FOR T1400-CB620 CATCH BASIN | T1400 | 175.36
T1400-SB1224-13 | GALV. STEEL SED. BUCKET FOR 24X24 STEEL CATCH BASIN | T1400 | 225.28 | 779897663185
T1400-SB1224-3 | SS SEDIMENT BUCKET FOR 12X24 STEEL CATCH BASIN | T1400 | 262.4 | 779897663192
T1400-SB2424-13 | GALV. STEEL SED. BUCKET FOR 24X24 STEEL CATCH BASIN | T1400 | 280.32 | 779897663215
T1400-SB2424-3 | SS SED. BUCKET FOR 24X24 STEEL CATCH BASIN | T1400 | 332.8 | 779897663222
T1400-SD-TA-3 | T1400-SD 1/2" SS ADA COMP SLOT TOP ASSY/L=39.4" | T1400 | 4480
T1400N | 39.4" POLYP NTRL BODY W/POUR BOARD, CLIPS, GRTE LCKDWN | T1400 | 275.15
T1400N-45 | T1400N 45° TRENCH SECTION | T1400 | 281
T1400N-90 | T1400N 90° CORNER TRENCH SECTION | T1400 | 281
T1400N-HALFCUT | 39 POLY PROPYLENE NEUTRAL BODY/ CUT IN HALF 20 | T1400 | 163.84
T1400N-PB | 39.4" POLY PROPYLENE NEUTRAL BODY W/ POUR BOARD | T1400 | 275.15 | 779897172533
T1400N-PB-18 | 39 POLY PROPYLENE NEUTRAL BODY ONLY/ 18 | T1400 | 295.68
T1400N-PB-PE45 | 45° ANGLE PIECE | T1400 | 537.6 | 779897172540
T1400N-PB-PE90 | T1400N 90° CORNER TRENCH BODY PIECE | T1400 | 537.6 | 779897172557
T1400N-TEE | T1400N TEE CONNECTION | T1400 | 281
T1400N-TEE-PB | T1400N TEE BODY ONLY | T1400 | 268.8
T1401 | 39.4" POLYP BODY W/ POUR BOARD, CLIPS & GRTE LCKDWN | T1400 | 275.15 | 779897663772
T1401-20IN | 20 POLY PROPYLENE BODY | T1400 | 295.68
T1401-PB | 39.4" POLYPROPYLENE BODY W/ POUR BOARD | T1400 | 327.68 | 779897086342
T1401-PB-30IN | 39 POLYPROPYLENE BODY ONLY CUT TO 30 INCHES | T1400 | 295.68
T1402 | 39.4" POLYPLN BODY W/ POUR BOARD, CLIPS & GRTE LCKDWN | T1400 | 275.15 | 779897663796
T1402-2.5 | 2.5 POLY PROPYLENE BODY WITH LEGS- | T1400 | 295.68
T1402-20.3 | 39 POLY PROPYLENE 1402 BODY/ CUT TO 20.30 | T1400 | 373.76
T1402-28.25 | 28.25 POLY PROPYLENE BODY- 1402 | T1400 | 295.68
T1402-PB | 39.4" POLY PROPYLENE BODY | T1400 | 327.68 | 779897086366
T1403 | 39.4" POLYPLN NTRL BDY W/POUR BOARD, CLIPS,GRTE LCKDWN | T1400 | 275.15 | 779897086359
T1403-PB | 39.4" POLY PROPYLENE BODY W/ POUR BOARD | T1400 | 327.68 | 779897663789
T1403N | 39 POLY PROPYLENE NEUTRAL BODY WITH LEGS | T1400 | 275.15 | 779897663802
T1403N-PB | 39.4" POLY PROPYLENE NEUTRAL BODY ONLY | T1400 | 327.68 | 779897086373
T1403N-PE45 | 45° ANGLE PIECE | T1400 | 537.6 | 779897663819
T1403N-TEE | T1403N TEE CONNECTION | T1400 | 537.6 | 779897172991
T1404 | 39.4" POLYPLN BODY W/ POUR BOARD, CLIPS & GRTE LCKDWN | T1400 | 275.15 | 779897663826
T1404-PB | 39.4" POLY PROPYLENE BODY W/ POUR BOARD | T1400 | 327.68 | 779897086380
T1405 | 39.4" POLYPLN BODY W/ POUR BOARD, CLIPS & GRTE LCKDWN | T1400 | 275.15 | 779897663833
T1405-PB | 39.4" POLY PROPYLENE BODY W/ POUR BOARD | T1400 | 327.68 | 779897086397
T1405N | 39.4" POLYPLN NTRL BDY W/ POUR BOARD, CLIPS & GRTE LCK | T1400 | 275.15 | 779897026911
T1405N-06-TEE-PB | T1405N/T1406 TEE CONNECTION BODY | T1400 | 894.72
T1405N-30 | 30 POLY PROPYLENE NEUTRAL BODY ONLY | T1400 | 295.68
T1405N-30-WF | 30 POLY PROPYLENE NEUTRAL BODY ONLY | T1400 | 295.68
T1405N-45 | T1405N 45° TRENCH SECTION | T1400 | 544
T1405N-90 | T1405N 90° CORNER TRENCH SECTION | T1400 | 281
T1405N-90-FS | T1405N 90° CORNER BODY SECTION w/T1400-PG-FS | T1400 | 281
T1405N-PB | 39.4" POLY PROPYLENE NEUTRAL BODY W/ POUR BOARD | T1400 | 327.68 | 779897173004
T1405N-PB-PE90 | T1405N 90 DEGREE CORNER TRENCH BODY PIECE | T1400 | 537.6
T1405N-TEE | T1405N TEE CONNECTION | T1400 | 281
T1406 | 39.4" POLYPLN BODY W/ POUR BOARD, CLIPS & GRTE LCKDWN | T1400 | 275.15 | 779897073229
T1406-30IN | 30 POLY PROPYLENE BODY WITH LEGS | T1400 | 295.68
T1406-PB | 39.4" POLY PROPYLENE BODY W/ POUR BOARD | T1400 | 327.68 | 779897663840
T1406N | 39 POLY PROPYLENE NEUTRAL BODY WITH LEGS | T1400 | 275.15 | 779897073236
T1406N-PB | 39 POLY PROPYLENE NEUTRAL BODY ONLY | T1400 | 327.68 | 779897663857
T1406N-PE45 | 45° ANGLE PIECE | T1400 | 537.6 | 779897663864
T1406N-TEE | T1406N TEE CONNECTION | T1400 | 537.6 | 779897026997
T1407 | 39.4" POLYPLN BODY W/ POUR BOARD, CLIPS & GRTE LCKDWN | T1400 | 275.15 | 779897073250
T1407-CB1224 | 12X24 CATCH BASIN FAB STEEL 21DEPTH | T1400 | 940.8
T1407-PB | 39.4" POLY PROPYLENE BODY W/ POUR BOARD | T1400 | 327.68 | 779897663871
T1408 | 39.4" POLYPLN BODY W/ POUR BOARD, CLIPS & GRTE LCKDWN | T1400 | 275.15 | 779897073267
T1408-HDCB2424413DI5 | 4"NH SO24x24 CB DUAL IN ACCPT T1408-PFO/GALV DI GRT/SB | T1400 | 1996.8
T1408-PB | 39.4" POLY PROPYLENE BODY W/ POUR BOARD | T1400 | 327.68 | 779897663888
T1409 | 39.4" POLYPLN BODY W/ POUR BOARD, CLIPS & GRTE LCKDWN | T1400 | 275.15 | 779897073274
T1409-PB | 39.4" POLY PROPYLENE BODY W/ POUR BOARD | T1400 | 327.68 | 779897663895
T1409N | 39.4" POLY PROPYLENE NEUTRAL BODY WITH LEGS | T1400 | 327.68 | 779897073281
T1409N-PB | 39.4" POLY PROPYLENE NEUTRAL BODY ONLY | T1400 | 327.68 | 779897663901
T1409N-PE45 | 45° ANGLE PIECE | T1400 | 537.6 | 779897663918
T1409N-TEE | T1409N TEE CONNECTION | T1400 | 537.6 | 779897027000
T1410 | 39.4" POLYPLN BODY W/ POUR BOARD, CLIPS & GRTE LCKDWN | T1400 | 275.15 | 779897073304
T1410-PB | 39.4" POLY PROPYLENE BODY W/ POUR BOARD | T1400 | 327.68 | 779897073311
T1410N | 39.4" POLYPLN NTRL BDY W/ POUR BOARD, CLIPS & GRTE LCK | T1400 | 275.15 | 779897027529
T1410N-45 | T1410N 45° TRENCH SECTION | T1400 | 281
T1410N-90 | T1410N 90° CORNER TRENCH SECTION | T1400 | 281
T1410N-PB | 39.4" POLY PROPYLENE NEUTRAL BODY W/ POUR BOARD | T1400 | 275.15 | 779897173028
T1410N-PB-PE90 | T1410N 90° CORNER TRENCH BODY PIECE | T1400 | 537.6
T1410N-TEE | T1410N TEE CONNECTION | T1400 | 281
T1411 | 39.4" POLYPLN BODY W/ POUR BOARD, CLIPS & GRTE LCKDWN | T1400 | 275.15 | 779897073328
T1411-PB | 39.4" POLY PROPYLENE BODY W/ POUR BOARD | T1400 | 327.68 | 779897662508
T1412 | 39.4" POLYPLN BODY W/ POUR BOARD, CLIPS & GRTE LCKDWN | T1400 | 275.15 | 779897073335
T1412-PB | 39.4" POLY PROPYLENE BODY W/ POUR BOARD | T1400 | 327.68 | 779897662515
T1412N | 39.4" POLY PROPYLENE NEUTRAL BODY WITH LEGS | T1400 | 327.68 | 779897073342
T1412N-PB | 39.4" POLY PROPYLENE NEUTRAL BODY | T1400 | 327.68 | 779897662522
T1412N-PE45 | 45° ANGLE PIECE | T1400 | 537.6 | 779897662560
T1412N-TEE | T1412N TEE CONNECTION | T1400 | 537.6 | 779897027017
T1413 | 39.4" POLYPLN BODY W/ POUR BOARD, CLIPS & GRTE LCKDWN | T1400 | 275.15 | 779897073366
T1413-HD-CB2424-4-DI | 4"NH SO12x24 CB DUAL IN ACCPT T1413-PFO/DI GRTE | T1400 | 1355.52
T1413-HD-CB24244DIF6 | 6"NH SO 24x24 CB DUAL IN ACCPT T1413-PFO/DI GRTE | T1400 | 1355.52
T1413-PB | 39.4" POLY PROPYLENE BODY W/ POUR BOARD | T1400 | 327.68 | 779897662539
T1414 | 39.4" POLYPLN BODY W/ POUR BOARD, CLIPS & GRTE LCKDWN | T1400 | 275.15 | 779897073373
T1414-PB | 39.4" POLY PROPYLENE BODY W/ POUR BOARD | T1400 | 327.68 | 779897662546
T1415 | 39.4" POLYPLN BODY W/ POUR BOARD, CLIPS & GRTE LCKDWN | T1400 | 275.15 | 779897073380
T1415-CB1224 | 12X24 CATCH BASIN FAB STEEL 21DEPTH | T1400 | 922.88
T1415-CB2424-18DEEP | 24 X 24 CATCH BASIN 18 DEPTH - 4 SIDE OUT | T1400 | 1383.68
T1415-PB | 39.4" POLY PROPYLENE BODY W/ POUR BOARD | T1400 | 327.68 | 779897662553
T1415N | 39.4" POLYPLN NTRL BDY W/POUR BOARD, CLIPS & GRTE LCK | T1400 | 327.68 | 779897073397
T1415N-45 | T1415N 45° TRENCH SECTION | T1400 | 544
T1415N-90 | T1415N 90 DEGREE CORNER TRENCH SECTION | T1400 | 281
T1415N-CB2424-4-SB | 24x24 CATCH BSN TO T1415N/ DI GRT/SED BKT | T1400 | 1747.2
T1415N-PB | 39.4" POLY PROPYLENE NEUTRAL BODY W/ POUR BOARD | T1400 | 327.68 | 779897073403
T1415N-TEE | T1415N TEE CONNECTION | T1400 | 281 | 779897027024
T1700-CUT | Cutting / per cut - Net Price only | T1500 | 134.4
T2000-86AD-30 | 8" X 6" ADAPTER/REDUCER COUPLING SOCKET PVC | T2000 | 64
T2000-CB1224 | 12" X 24" CATCH BASIN FABRICATED | T2000 | 856.96
T2000-CB1224-LINT-SC | 12" X 24" CATCH BASIN WITH LINT SCREEN | T2000 | 3515.3408
T2000-CB1224-SB | SED BKT FOR T2000-CB1224 | T2000 | 335.36
T2000-CB2424-NI-NO | 24"x24" CATCH BSN/DI GRTE/NO INLET/NO OUTLET | T2000 | 1239.04
T2000-CLIP | T200012" TRENCH SERIES- QUICK CLIP | T2000 | 6.4
T2000-CLIP-88 | T2000 12" TRENCH SERIES- QUICK CLIP | T2000 | 6.4
T2000-LGHP-CO4-3.5M | 4"NH CNT OUT/STL HP LGTD GRT/CLSS "B" w/FRME/L=3.5 SEC | T2000 | 5624.4736
T2000-LGHP-CO4-5SEC | 4"NH CNT OUT/STL HP LGTD GRT/CLSS "B" w/FRAME-/L=5 SEC | T2000 | 7814.3616
T2000-LGHP-CO4-8SEC | 4"NH CNT OUT/STL HP LGTD GRT/CLSS "B" w/FRAME-/L=8 SEC | T2000 | 12309.4144
T2000-PBDS-4 | PERFORATED STEEL BOTTOM DOME STRAINER F/ T2000 4"-TREN | T2000 | 80 | 779897173042
T2000-PBDS-6 | PERFORATED STEEL BOTTOM DOME STRAINER F/ T2000 6"-TREN | T2000 | 80 | 779897173059
T2000-PBO3 | 3"NH FAB BOTTOM PIPE OUTLET w/ MOUNTING HDWRE | T2000 | 69.12
T2000-PBO4 | 4" BOTTOM PIPE OUTLET POLYPROPYLENE W/ MOUNTING HDWRE | T2000 | 60
T2000-PBO4-30 | 4" BOTTOM PIPE OUTLET PVC | T2000 | 71.68 | 779897173066
T2000-PBO4-30-88 | 4" BOTTOM PIPE OUTLET PVC COMPONENT | T2000 | 71.68
T2000-PBO4-88 | 4" BOTTOM PIPE OUTLET POLYPROPYLENE COMPONENT | T2000 | 71.68
T2000-PBO6 | 6" BOTTOM PIPE OUTLET POLYPROPYLENE W/ MOUNTING HDWRE | T2000 | 60 | 779897173073
T2000-PBO6-30 | 6" BOTTOM PIPE OUTLET PVC | T2000 | 71.68 | 779897173080
T2000-PBO6-88 | 6" BOTTOM PIPE OUTLET POLYPROPYLENE | T2000 | 71.68
T2000-PBO8 | 8" BOTTOM PIPE OUTLET POLYPROPYLENE | T2000 | 60 | 779897173097
T2000-PCPL | USE T2000-CLIP | T2000 | 6.4 | 779897173103
T2000-PEC | T2000 STARTING END CAP PP | T2000 | 60 | 779897173110
T2000-PEC-3 | T2000 STARTING END CAP w/SS VENEER | T2000 | 176.64
T2000-PEC-30 | T2000 STARTING END CAP PVC | T2000 | 71.68 | 779897173127
T2000-PEC-30-88 | T2000 STARTING END CAP PVC | T2000 | 71.68
T2000-PEC-88 | T2000 STARTING END CAP PP | T2000 | 71.68
T2000-PEFC-FAB | Top Finish Cap - FAB MILD STEEL | T2000 | 40.96
T2000-PEFCV-FAB-3 | STAINLESS STEEL VENEER FOR T2000 END FINISH CAP | T2000 | 107.52
T2000-PEO4 | 4" OUTLET END CAP POLYPROPYLENE | T2000 | 60 | 779897173134
T2000-PEO4-30 | 4" OUTLET END CAP PVC | T2000 | 71.68 | 779897173141
T2000-PEO6 | 6" OUTLET END CAP POLYPROPYLENE | T2000 | 60 | 779897173158
T2000-PEO6-30 | 6" OUTLET END CAP PVC | T2000 | 71.68 | 779897173165
T2000-PEO6-30-88 | 6" OUTLET END CAP PVC | T2000 | 71.68
T2000-PEO6-88 | 6" OUTLET END CAP POLYPROPYLENE | T2000 | 71.68
T2000-PEO8 | 8" OUTLET END CAP POLYPROPYLENE | T2000 Ser | 60
T2000-PEO8-30 | 8" OUTLET END CAP PVC - SEE NOTES | T2000 | 71.68
T2000-PEO8-30-6X8 | 8" OUTLET COUPLING | T2000 | 64
T2000-PEO8-MS | FABRICATED MILD STEEL 8" T2000 END OUT | T2000 | 64
T2000-PF-13 | GALVANIZED FABRICATED STEEL FRAME | T2000 | 157.44
T2000-PF-3 | STAINLESS STEEL FRAME/OPEN END ASSEMBLY | T2000 | 857.6 | 779897173172
T2000-PF-4 | LOAD CLASS F Steel Frame Open Ended Assembly | T2000 | 129.28 | 779897173189
T2000-PF-4-88 | Ductile Iron Frame Open Ended Assembly COMP | T2000 | 129.28
T2000-PFC | Top Finish Cap Polypropylene | T2000 | 26.88 | 779897173196
T2000-PFC-30 | 12" Top Finish Cap PVC | T2000 | 30.72 | 779897173202
T2000-PFC-88 | Top Finish Cap Polypropylene | T2000 | 30.72
T2000-PFO-CB1224 | 24" LONG ANGLE STEEL FRAME ASSY. w/ ANCHOR STUDS | T2000 | 163.84
T2000-PFOC-3 | FAB TD SS FRAME FOR "C" CLASS GRATE FOR T2000 | T2000 | 730
T2000-PFOC-4 | T2000 TRENCH DRAIN FRAME FOR "C" CLASS GRATE | T2000 | 136.67
T2000-PFOC-4-13 | T2000 TRN DRN GALV FRAME FOR "C" CLASS GRATE | T2000 | 136.67
T2000-PG-FS | FAB. SS (TYPE 304) SLOTTED GRATE. | T2000 | 700.17 | 779897173271
T2000-PG-LGHP | FABRICATED HEEL PROOF LONG SLOT STEEL GRATE | T2000 | 654.57
T2000-PG-LGPH | FABRICATED HEEL PROOF LONG SLOT STEEL GRATE | T2000 | 608
T2000-PG-PS | FABRICATED SS 304 PERFORATED GRATE | T2000 | 1316.67 | 779897173301
T2000-PG-PVC | PVC GRATE. | T2000 | 157.44 | 779897173318
T2000-PG-RFS | FAB. REINFORCED SS (TYPE 304) SLOTTED GRATE. | T2000 | 1166.67 | 779897173325
T2000-PG-RG | Galvanized Steel, Reinforced Perforated Grate Class B | T2000 | 196.66
T2000-PG-RPS | FAB REINFORCED 304SS PERF GRATE/LC"B"/ L=39.4" | T2000 | 1166.67
T2000-PG-SBG | FABRICATED 304 SS BAR GRATE | T2000 | 1430
T2000-PG-SBGGS | SLOTTED BAR HEAVY DUTY GRTE GALV STEEL/ L= 1M | T2000 | 1200
T2000-PGC-4 | D.I. GRATE CLASS C FOR T2000 TRENCH DRAIN | T2000 | 88.42 | 779897173240
T2000-PGC-4-13 | GALVANIZED DUCTILE IRON GRATE- STANDARD (CLASS C) | T2000 | 98.33
T2000-PGC-4-88 | DUCTILE IRON GRATE- STANDARD (CLASS D) | T2000 | 104.96
T2000-PGC-4-90 | SET OF 2 D.I. CUT GRT FOR T2000 90° BODIES | T2000 | 649.42
T2000-PGCV-3 | SS VENEER FOR T2000-PGC-4 | T2000 | 1011.2
T2000-PGF | FAB GALV SLOTTED LIGHT DUTY GRT/LCA/L=39.4" | T2000 | 240.17
T2000-PGF-4 | D.I. HD GRATE CLASS F FOR T2000 TRENCH DRAIN | T2000 | 133.33 | 779897173257
T2000-PGF-4-13 | GALV DUCTILE IRON GRATE-HEAVY DUTY(CLASS F) | T2000 | 196.66 | 779897173264
T2000-PGF-4-3 | 20" SPECIAL DUTY DI SLOTTD GRTE w/ SS VENEER- CLASS F | T2000 | 924.55
T2000-PGG | PERF GALV STEEL LIGHT DUTY GRATE | T2000 | 240.17 | 779897173288
T2000-PGL-STL | 1/2"X2" HEX MD MS PLATED (BOLTS ONLY) | T2000 | 3.84 | 779897173295
T2000-PGLVP | VANDAL PROOF LOCKDOWN HARDWARE | T2000 Ser | 9
T2000-SB2424-13 | 24" X 24" CATCH BASIN GALVANIZED SB | T2000 | 335.36
T2001 | 12" POLY PROPYLENE BODY WITH FRAME & CLIPS | T2000 | 558 | 779897874499
T2001-FC-3 | 12"W POLY BODY w/LOAD CLASS "C" FAB SS FRAME & CLIPS | T2000 | 1488.5632
T2001-PB | 12" POLY PROPYLENE BODY ONLY | T2000 | 558 | 779897173431
T2001-PB-88 | 12" POLY PROPYLENE BODY W/ FRAME | T2000 | 558
T2001-PB-88-13 | 12" POLY PROPYLENE BODY W/ GALV FRAME | T2000 | 899.84
T2001N | 12" POLY PROPYLENE NEUTRAL BODY WITH FRAME & CLIPS | T2000 | 558 | 779897874482
T2001N-90 | 90° POLY NEUTRAL BODY WITH FRAME & CLIPS | T2000 | 561
T2001N-CB1224 | 12x24 CTH BSN/ ACCEPT T2001N /DI GRTE | T2000 | 1004.8
T2001N-FC-3 | 12"W POLY BODY w/LOAD CLASS "C" FAB SS FRAME & CLIPS | T2000 | 1488.5632
T2001N-PB | 12" POLY PROPYLENE NEUTRAL BODY ONLY | T2000 | 515.7632 | 779897173424
T2001N-PB-88 | 12" POLY PROPYLENE NEUTRAL BODY WITH FRAME | T2000 | 558
T2001N-PB-88-13 | 12" POLY PROPYLENE BODY W/ GALV FRAME | T2000 | 899.84
T2002 | 12" POLY PROPYLENE BODY WITH FRAME & CLIPS | T2000 | 558 | 779897874505
T2002-FC-3 | 12"W POLY BODY w/LOAD CLASS "C" FAB SS FRAME & CLIPS | T2000 | 1488.5632
T2002-PB | 12" POLY PROPYLENE BODY ONLY | T2000 | 558 | 779897173448
T2002-PB-12IN | 12" FRAME/BODY CUT T2002 POLY PROPYLENE BODY | T2000 | 203.52
T2002-PB-88 | 12" POLY PROPYLENE BODY AND FRAME | T2000 | 558
T2002-PB-88-13 | 12" POLY PROPYLENE BODY W/ GALV FRAME | T2000 | 899.84
T2003 | 12" POLY PROPYLENE BODY WITH FRAME & CLIPS | T2000 | 558 | 779897874512
T2003-FC-3 | 12"W POLY BODY w/LOAD CLASS "C" FAB SS FRAME & CLIPS | T2000 | 1488.5632
T2003-PB | 12" POLY PROPYLENE BODY ONLY | T2000 | 558 | 779897173455
T2003-PB-88 | 12" POLY PROPYLENE BODY WITH FRAME | T2000 | 558
T2003-PB-88-13 | 12" POLY PROPYLENE BODY W/ GALV FRAME | T2000 | 899.84
T2004 | 12" POLY PROPYLENE BODY WITH FRAME & CLIPS | T2000 | 558 | 779897874536
T2004-FC-3 | 12"W POLY BODY w/LOAD CLASS "C" FAB SS FRAME & CLIPS | T2000 | 1488.5632
T2004-PB | 12" POLY PROPYLENE BODY ONLY | T2000 | 558 | 779897173479
T2004-PB-88 | 12" POLY PROPYLENE BODY WITH FRAME | T2000 | 558
T2004-PB-88-13 | 12" POLY PROPYLENE BODY W/ GALV FRAME | T2000 | 899.84
T2004N | 12" POLY PROPYLENE NEUTRAL BODY WITH FRAME & CLIPS | T2000 | 558 | 779897874529
T2004N-13 | 12"W POLY PROPYLENE BODY w/ GALV FRAME & CLIPS | T2000 | 799.2576
T2004N-FC-3 | 12"W POLY BODY w/LOAD CLASS "C" FAB SS FRAME & CLIPS | T2000 | 1488.5632
T2004N-PB | 12" POLY PROPYLENE NEUTRAL BODY ONLY | T2000 | 515.7632 | 779897173462
T2004N-PB-88 | 12" POLY PROPYLENE NEUTRAL BODY WITH FRAME | T2000 | 729.6
T2004N-PB-88-13 | 12" POLY PROPYLENE NEUTRAL BODY W/GALV FRAME | T2000 | 899.84
T2005 | 12" POLYPROPYLENE BODY ONLY WITH FRAME & CLIPS | T2000 | 558 | 779897874543
T2005-FC-3 | 12"W POLY BODY w/LOAD CLASS "C" FAB SS FRAME & CLIPS | T2000 | 1488.5632
T2005-PB | 12" POLYPROPYLENE BODY ONLY | T2000 | 558 | 779897173486
T2005-PB-500 | 1/2 METER BODY/FRAME CUT T2005 POLY PROPYLENE BODY | T2000 | 364.8
T2005-PB-88 | 12" POLYPROPYLENE BODY WITH FRAME | T2000 | 558
T2005-PB-88-13 | 12" POLY PROPYLENE BODY W/ GALV FRAME | T2000 | 899.84
T2006 | 12" POLY PROPYLENE BODY WITH FRAME & CLIPS | T2000 | 558 | 779897874567
T2006-FC-3 | 12"W POLY BODY w/LOAD CLASS "C" FAB SS FRAME & CLIPS | T2000 | 1488.5632
T2006-PB | 12" POLY PROPYLENE BODY ONLY | T2000 | 558 | 779897173493
T2006-PB-88 | 12" POLY PROPYLENE BODY WITH FRAME | T2000 | 558
T2006-PB-88-13 | 12" POLY PROPYLENE BODY W/ GALV FRAME | T2000 | 899.84
T2007 | 12" POLY PROPYLENE BODY WITH FRAME & CLIPS | T2000 | 558 | 779897874574
T2007-FC-3 | 12"W POLY BODY w/LOAD CLASS "C" FAB SS FRAME & CLIPS | T2000 | 1488.5632
T2007-PB | 12" POLY PROPYLENE BODY ONLY | T2000 | 558 | 779897173509
T2007-PB-88 | 12" POLY PROPYLENE BODY WITH FRAME | T2000 | 558
T2007-PB-88-13 | 12" POLY PROPYLENE BODY W/ GALV FRAME | T2000 | 899.84
T2008 | 12" POLY PROPYLENE BODY WITH FRAME & CLIPS | T2000 | 558 | 779897874598
T2008-CB121224 | T2000 - 12X24 CATCH BASIN FAB STEEL | T2000 | 1004.8 | 779897173516
T2008-CB2424 | 24" X 24" CATCH BASIN | T2000 | 1402.88
T2008-FC-3 | 12"W POLY BODY w/LOAD CLASS "C" FAB SS FRAME & CLIPS | T2000 | 1488.5632
T2008-PB | 12" POLY PROPYLENE BODY ONLY | T2000 | 558 | 779897173530
T2008-PB-88 | 12" POLY PROPYLENE BODY WITH FRAME | T2000 | 558
T2008-SB121224-13 | GALV FAB STEEL SED BKT FOR T2000 - 12X24 CATCH BASIN | T2000 | 1256.96 | 779897173547
T2008-SB2424-13 | 24" X 24" CATCH BASIN GALVANIZED SB | T2000 | 1736.96
T2008N | 12" POLY PROPYLENE NEUTRAL BODY WITH FRAME & CLIPS | T2000 | 558 | 779897874581
T2008N-90 | 90° POLYPROP NEUTRAL BODY w/FRME&CLPS | T2000 | 461
T2008N-FC-3 | 12"W POLY BODY w/LOAD CLASS "C" FAB SS FRAME & CLIPS | T2000 | 1488.5632
T2008N-PB | 12" POLY PROPYLENE NEUTRAL BODY ONLY | T2000 | 515.7632 | 779897173523
T2008N-PB-88 | 12" POLY PROPYLENE NEUTRAL BODY WITH FRAME | T2000 | 558
T2008N-PB-88-13 | 12" POLY PROPYLENE BODY W/ GALV FRAME | T2000 | 784.64
T2008N-PEO8 | 8" OUTLET END CAP STEEL FOR T2008N | T2000 Ser | 71.68
T2009 | 12" POLY PROPYLENE BODY WITH FRAME & CLIPS | T2000 | 558 | 779897874604
T2009-CB2424-4-SB13 | 24x24 CTH BSN/ACCPT LC"C" T2009/DI GRT/GALV SED BKT | T2000 | 1432.32
T2009-FC-3 | 12"W POLY BODY w/LOAD CLASS "C" FAB SS FRAME & CLIPS | T2000 | 1488.5632
T2009-PB | 12" POLY PROPYLENE BODY ONLY | T2000 | 558 | 779897173554
T2009-PB-88 | 12" POLY PROPYLENE BODY WITH FRAME | T2000 | 558
T2010 | 12" POLY PROPYLENE BODY WITH FRAME & CLIPS | T2000 | 558 | 779897874611
T2010-FC-3 | 12"W POLY BODY w/LOAD CLASS "C" FAB SS FRAME & CLIPS | T2000 | 1488.5632
T2010-PB | 12" POLY PROPYLENE BODY ONLY | T2000 | 558 | 779897173561
T2010-PB-88 | 12" POLY PROPYLENE BODY WITH FRAME | T2000 | 558
T2011 | 12" POLY PROPYLENE BODY WITH FRAME & CLIPS | T2000 | 558 | 779897874628
T2011-CB1224-13 | 12" X 24" CATCH BASIN FABRICATED / GALV GRATES | T2000 | 1256.96
T2011-CB1224-22 | 12" X 24" CATCH BASIN FABRICATED /LESS GRATE | T2000 | 922.88
T2011-FC-3 | 12"W POLY BODY w/LOAD CLASS "C" FAB SS FRAME & CLIPS | T2000 | 1488.5632
T2011-PB | 12" POLY PROPYLENE BODY ONLY | T2000 | 558 | 779897173578
T2011-PB-88 | 12" POLY PROPYLENE BODY WITH FRAME | T2000 | 558
T2012 | 12" POLY PROPYLENE BODY WITH FRAME & CLIPS | T2000 | 558 | 779897874642
T2012-CB2424-4-SB13 | 24x24 CTH BSN/ACCPT LC"C" T2012/DI GRT/GALV SED BKT | T2000 | 1432.32
T2012-FC-3 | 12"W POLY BODY w/LOAD CLASS "C" FAB SS FRAME & CLIPS | T2000 | 1488.5632
T2012-PB | 12" POLY PROPYLENE BODY ONLY | T2000 | 558 | 779897173592
T2012-PB-88 | 12" POLY PROPYLENE BODY WITH FRAME | T2000 | 558
T2012N | 12" POLY PROPYLENE NEUTRAL BODY WITH FRAME & CLIPS | T2000 | 558 | 779897874635
T2012N-CB2424 | (obsolete)TRENCH DRAIN WITH CB 24"X24" | T2000 | 1082.88
T2012N-CB2424-22 | 24" X 24" CATCH BASIN/ LESS GRATE | T2000 | 1239.04
T2012N-FC-3 | 12"W POLY BODY w/LOAD CLASS "C" FAB SS FRAME & CLIPS | T2000 | 1488.5632
T2012N-PB | 12" POLY PROPYLENE NEUTRAL BODY ONLY | T2000 | 558 | 779897173585
T2012N-PB-88 | 12" POLY PROPYLENE NEUTRAL BODY WITH FRAME | T2000 | 558
T2170-PEC | T2170 CLOSED END CAP | FAB ST TD | 177
T2170-PEO4 | T2170 - 4" NO HUB END OUTLET | FAB ST TD | 252.16
T2170-PGC-4 | DUCTILE IRON GRATE FOR THE T2170 | FAB ST TD | 83.2
T2171 | 17" WIDE X 48" LENGTH/ PRESLOPED TRENCH DRAIN | FAB ST TD | 960
T2400-4-13 | 12" X 24" DUCTILE IRON GRATE-HEAVY DUTY(CLASS F) / GAL | FAB ST TD | 271.36
T2400-PG-4 | DUCTILE IRON GRATE-HEAVY DUTY SLOTTED GRATE(CLASS F) | FAB ST TD | 162.56
T2400-PG-LGHP | HD HEEL PROOF LONGTDNL SLOTTED DI VENEER | FAB ST TD | 226.56
T2405N-PB | 24" WIDE X 48" LENGHT/ NEUTRAL TRENCH DRAIN | FAB ST TD | 1506.56
T250-CB2.520-HPP-SO6 | 6"NH SIDE OUT 2.5"x20" STEEL CATCH BSN/ HP SLTD GRT | T1400 | 1021.5
T250-CO2-HPP-40IN | 2"NH CNTR BOT OUT TD/2 FULL HP SLOTTED GRTE/ L=40" | Fab St TD | 236.5113
T250-HP-PBO2 | T250 TRENCH RUN- 40IN 2" BOTTOM OUT - HP STEEL GRATE | Fab St TD | 200.895
T250-PB | 2.5" W, 3" D 14 GA STEEL TRENCH 40" LONG | Fab St TD | 200.895
T250-PB-2D | T250 TRENCH 40" LONG MODIFIED TO 2" DEPTH | Fab St TD | 200.895
T250-PB-90 | T250 TRENCH 90 DEGREE BODY SECTION | Fab St TD | 17.025
T250-PB-90-2D | T250 TRENCH 90 DEGREE MODIFIED TO 2" DEPTH | Fab St TD | 18.16
T250-PBO2-30 | 2" BOTTOM OUTLET/POLY | Fab St TD | 6.81
T250-PEC-2D | T250 END CAP MODIFIED TO A 2" DEPTH | Fab St TD | 6.81
T250-PEC-30 | POLY END CAP FOR T250 | Fab St TD | 6.81
T250-PG-AWG | ALUMNM WIRE GRATE- CLASS A, 40" LONG | Fab St TD | 329.15
T250-PG-HPP | 2.375 X 20 POLY GRATE - T250 | Fab St TD | 8.45
T250-PG-HPP-90 | CLASS A- 90° POLYP. HEEL PROOF GRATE | Fab St TD | 18.16
T250-PG-SSDA | 2.375"x40" SS DECOR. GRATE - T250 | Fab St TD | 823.33
T250-PG-SSDA-500 | 2.375" X 20" SS DECOR. GRATE - T250 | Fab St TD | 411.67
T250-PG-SSWG | SS FAB WIRE GRATE - T250 | Fab St TD | 1116.67
T250-PGLVP | 1 1/2 long vandal resistant grate lockdown hardware | Fab St TD | 9
T250-SSWG-BO2-40IN | T250 TRENCH RUN- 40IN /2" BOTTOM OUT/ SS WIRE GRATE | Fab St TD | 1289.9616
T2600-PB | 26" FAB STEEL TR BODY - PER FT / KQ PRICE ONLY | FAB ST TD | 462.08
T275-BO3-HPP-SSB40IN | 3"NH BO TRN DRN/ HEEL PRF SLTD POLY GRTE/SS BLTS/L=40" | Fab St TD | 447.488
T275-CO2-HPP-40IN | 2"NH 4.75"W TD/CNTR OUTLT/POLY HP SLTD GRTE/L=40" | Fab St TD | 378.368
T275-CO3-4-10GRT | 3"NH CNTR BOT OUTL 4-3/4"W TD/ DI GRATES=10/L=16'-6" | Fab St TD | 1700.0448
T275-CO3-4-2GRT | 3"NH CNTR BOT OUTL 4-3/4"W TD/ DI GRATES=2 / L=3'-4" | Fab St TD | 355.8
T275-CO3-4-40IN | 3"NH TRN DRN/CNTR OUTLT/DI GRTE/L=40IN | Fab St TD | 355.8
T275-CO3-4-4GRT | 3"NH CNTR BOT OUTL 4-3/4"W TD/ DI GRATES=4 / L=6'-8" | Fab St TD | 646.9081
T275-PB | T275 4-3/4" x 2-3/4"" x 40"L BODY SECTION | Fab St TD | 250.88
T275-PBO2-30 | 2" NH BOTTOM OUTLET T300 | Fab St TD | 21
T275-PBO3-30 | 3" NH BOTTOM OUTLET T275 | Fab St TD | 21
T275-PEC | T275 CLOSED END CAP MILD STEEL | Fab St TD | 21
T275-PEC-30 | T300 CLOSED END CAP POLYPROPYLENE | Fab St TD | 21
T275-PEO2-30 | 2" NH T300 END CAP POLYPROPYLENE | Fab St TD | 21
T275-PEO3-30 | 3" NH END OUTLET | Fab St TD | 21
T275-PG-4 | T275 DI, EXTRA HD FAB SLTTED GRTE-CLASS E 20" LONG | Fab St TD | 40.96
T275-PG-4-HPSL | T275 DUCTILE IRON GRATE WITH SS HEELPROOF VENEER | Fab St TD | 768
T275-PG-FS | T275 SS, FAB SLOTTED GRATE-CLASS A 40" LONG | Fab St TD | 597.3376
T275-PG-FSGA | T275 GALV STEEL, FAB SLOTTED GRATE-CLASS A 40" LONG | Fab St TD | 20.48
T275-PG-HPP | T275 POLYPRO HEEL PROOF SLOTTED GRATE 20IN | Fab St TD | 11.52
T275-PG-LG-4 | T275 DI, EXTRA HD LONG SLT GR-CLASS E 20" | Fab St TD | 19.2
T275-PG-PGG | T275 GALV FAB STEEL PERF GRATE-CLASS A 40" LONG | Fab St TD | 127.9872
T275-PG-PS | T275 SS, FAB PERF GRATE-CLASS A 40" LONG | Fab St TD | 179.2
T300 | 39.4" POLYP BODY w/ POUR BOARD & CLIPS | T300 | 216.23
T300-CUT | T300 Cutting / per cut - Net Price only | T1400 | 136.96
T300-KIT | T300 CONTRACTOR KIT 3 PACK | T300 | 252.88 | 779897118807
T300-LD | T300 TRENCH SERIES LOCKDOWN PLATE w/HRDWRE | T300 | 22.3503
T300-LD-PLATE | LOCKDOWN PLATE FOR T300 BODIES | T300 | 21.1932
T300-PB | 39.4" POLYPLN TRENCH DRAIN BODY W/ POUR BOARD | T300 | 216.23
T300-PB-90 | T300 90° POLYPLN TRENCH DRAIN BODY w/ POUR BOARD | T300 | 281
T300-PB-TEE | T300 TEE POLYPLN TRENCH DRAIN BODY w/ POUR BOARD | T300 | 487.2
T300-PBDS | T300 BOTTOM DOME STRAINER | T1400 | 67.2
T300-PBO | T300 2" NH BOTTOM OUTLET POLYPLN W/ MOUNTING HRDWRE | T300 | 29
T300-PBO3 | T300 3" NH BOTTOM OUTLET MILD STEEL W/ MOUNTING HRDWRE | T300 | 121.8
T300-PBO4 | T300 4" NH BOTTOM OUTLET MILD STEEL W/ MOUNTING HRDWRE | T300 | 121.8
T300-PEC | T300 CLOSED END CAP POLYPROPYLENE | T300 | 29
T300-PEC-30 | T300 CLOSED END CAP | T300 | 20.88
T300-PEO2 | T300 2" NO-HUB END OUTLET POLYPROPYLENE | T300 | 29
T300-PEO2-30 | 2" NH END OUTLET | T300 | 20.88
T300-PG-PS-TEMP | (TEMPORARY) 40" SS FABRCTD PERF GRATE - CLASS A | T300 | 90.48
T300-PGLVP | T300 VANDAL PROOF/ GRATE LOCKDOWN BOLT | T1400 | 9
T300-PS-BO2-40IN | 2"NH BO TD/ SS PERF GRT/L=40" | T300 | 1007.1236
T302-2BO-HPP-11SEC | T300 TRENCH DRAIN/HPP GRATES/2 BOTTOM OUTLETS/11SEC | T300 | 3466.08